{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["数据导出-20230411195002"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"数据导出-20230411195002","index":0,"n_rows":18,"n_cols":11,"rows_kept":18,"cut":false,"hidden":false,"merged":[[0,0,0,10]]}
["数据导出-20230411195002"]
["序号","告警编号","设备编号","测点编号","测点属性名称","测点名称","告警类型","报警等级","告警策略名称","上升周期(绝对值告警可不填)","阈值"]
["1","50",null,null,"Tem4",null,"1","2","绝对的绝对","0","0.1"]
["2","50",null,null,"Tem5",null,"1","2","绝对的绝对","0","0.1"]
["3","50","351","7044501200997208068","Tem1","测点温度1","1","2","绝对的绝对","0","0.1"]
["4","50","351","7046361311302668298","Tem2","温度2","1","2","绝对的绝对","0","0.1"]
["5","50","351","7046361469797027851","Tem3","温度3","1","2","绝对的绝对","0","0.1"]
["6","10","351","7046371621900144683","Vol11","电压11","2","1","升温告警-测试1","3","0.1"]
["7","10","351","7046357968979251201","Tem10","温度10","2","1","升温告警-测试1","3","0.1"]
["8","10","351","7046359632012398594","Tem11","温度11","2","1","升温告警-测试1","3","0.1"]
["9","10","351","7046360396332027909","Tem14","温度14","2","1","升温告警-测试1","3","0.1"]
["10","10","351","7046360585222508550","Tem15","温度15","2","1","升温告警-测试1","3","0.1"]
["11","10",null,null,"Vol2",null,"2","1","升温告警-测试1","3","0.1"]
["12","13","351","7046357968979251201","Tem10","温度10","2","2","升温告警测试3","1","0"]
["13","13","351","7046359632012398594","Tem11","温度11","2","2","升温告警测试3","1","0"]
["14","13","351","7046360396332027909","Tem14","温度14","2","2","升温告警测试3","1","0"]
["15","13","351","7046360585222508550","Tem15","温度15","2","2","升温告警测试3","1","0"]
["16","13","351","7044501200997208068","Tem1","测点温度1","2","2","升温告警测试3","1","0"]