{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":91,"n_cols":3,"rows_kept":91,"cut":false,"hidden":false,"merged":[[0,0,90,0],[1,1,2,1],[3,1,53,1],[54,1,58,1],[59,1,70,1],[71,1,90,1]]}
["SCD检测系统所需接口","所属模块","所需接口"]
[null,"登录","获取账号、密码接口"]
[null,null,"登录接口"]
[null,"检测任务","开始检测接口"]
[null,null,"取消检测接口"]
[null,null,"获取检测详情接口"]
[null,null,"获取检测结果接口"]
[null,null,"任务检测详情接口"]
[null,null,"编辑当前模型接口"]
[null,null,"获取任务创建日期接口"]
[null,null,"获取正在检测任务名称接口"]
[null,null,"获取检测任务名称接口"]
[null,null,"新建检测任务接口"]
[null,null,"保存新建任务接口"]
[null,null,"选择模型接口"]
[null,null,"选择变电站接口"]
[null,null,"选择SCD文件接口"]
[null,null,"选择间隔列表接口"]
[null,null,"删除间隔列表"]
[null,null,"选择报告模板接口"]
[null,null,"确定检测模型选择接口"]
[null,null,"获取历史任务接口"]
[null,null,"获取网络结构图接口"]
[null,null,"获取SCD可视化接口"]
[null,null,"获取连接线连接的装置接口"]
[null,null,"获取装置信息接口"]
[null,null,"CID一致性校验接口"]
[null,null,"获取装置列表接口"]
[null,null,"结果导出EXCEL接口"]
[null,null,"获取增、删、修改的差异数据接口"]
[null,null,"上传CID文件接口"]
[null,null,"SCD文件一致性检验接口"]
[null,null,"新增对比接口"]
[null,null,"重新对比接口"]
[null,null,"查看对比信息接口"]
[null,null,"获取基准文件、对比文件名称接口"]
[null,null,"SCL文件校验接口"]
[null,null,"校验结果选择接口"]
[null,null,"导出虚端子接口"]
[null,null,"统计装置接口"]
[null,null,"电压等级选择接口"]
[null,null,"间隔选择接口"]
[null,null,"装置类型选择接口"]
[null,null,"查询装置接口"]
[null,null,"快捷搜索IED编码和名称接口"]
[null,null,"获取装置关联关系信息接口"]
[null,null,"获取输入输出控制块信息接口"]
[null,null,"获取虚端子关系信息接口"]
[null,null,"获取基础信息接口"]
[null,null,"获取输入输出控制块关联图接口"]
[null,null,"获取输入输出控制块SV发送接口"]
[null,null,"获取输入输出控制块SV接收接口"]
[null,null,"获取输入输出控制块GOOSE发送接口"]
[null,null,"获取输入输出控制块GOOSE接收接口"]
[null,"报告结果","立即生成报告接口"]
[null,null,"下载报告接口"]
[null,null,"获取检测结果列表接口"]
[null,null,"导出所有结果接口"]
[null,null,"导出当前节点结果接口"]
[null,"基础设置","获取一次接线维护页面接口"]
[null,null,"获取内置模型管理页面接口"]
[null,null,"获取一次性接线方式列表接口"]
[null,null,"添加新分类接口"]
[null,null,"编辑新分类接口"]
[null,null,"删除分类接口"]
[null,null,"获取间隔模型信息弹框接口"]
[null,null,"查看线路图接口"]
[null,null,"查看一次接线信息接口"]
[null,null,"获取间隔模型列表接口"]
[null,null,"获取装置列表接口"]
[null,null,"装置关联模型管理保存接口"]
[null,"系统管理","获取报告模板页面接口"]
[null,null,"新建报告模板接口"]
[null,null,"编辑报告模板接口"]
[null,null,"删除报告模板接口"]
[null,null,"查询报告模板接口"]
[null,null,"重置检索条件接口"]
[null,null,"获取系统代码管理页面接口"]
[null,null,"添加系统代码接口"]
[null,null,"编辑系统代码接口"]
[null,null,"删除系统代码接口"]
[null,null,"获取系统参数页面接口"]
[null,null,"添加系统参数接口"]
[null,null,"编辑系统参数接口"]
[null,null,"获取操作日志页面接口"]
[null,null,"查询操作日志接口"]
[null,null,"重置检索条件接口"]
[null,null,"选择操作结果接口"]
[null,null,"选择审计分类接口"]
[null,null,"选择操作分类接口"]
[null,null,"选择事件类型接口"]