{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["SCD检测功能列表"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"SCD检测功能列表","index":0,"n_rows":88,"n_cols":10,"rows_kept":88,"cut":false,"hidden":false,"merged":[[0,0,87,0],[0,1,49,1],[0,2,47,2],[0,3,2,3],[3,3,43,3],[3,4,5,4],[7,4,8,4],[9,4,43,4],[9,5,34,5],[9,6,20,6],[9,7,14,7],[12,8,14,8],[15,7,17,7],[21,6,34,6],[22,7,33,7],[23,8,27,8],[35,5,41,5],[44,3,46,3],[51,1,58,1],[51,2,55,2],[57,2,58,2],[59,1,73,1],[59,2,66,2],[62,3,66,3],[67,2,73,2],[74,1,86,1],[74,2,80,2],[81,2,82,2],[83,2,84,2],[85,2,86,2]]}
["SCD检测功能列表","检测任务 ","当前检测任务","开始检测","正在检测的任务名称","请耐心等待检测完成加载"]
[{"$nulls":4},"检测详情"]
[{"$nulls":4},"检测结果"]
[null,null,null,"未开始检测","立即开始","正在检测中"]
[{"$nulls":5},"检测详情","动态加载检测详情"]
[{"$nulls":5},"检测结果"]
[{"$nulls":4},"编辑模型","检测模型选择"]
[{"$nulls":4},"待检测任务","检测中"]
[{"$nulls":5},"检测"]
[{"$nulls":4},"最近检测任务统计-已完成","SCD可视化","网络结构图","SCD文件一致性校验","+新的对比"]
[{"$nulls":8},"重新对比"]
[{"$nulls":8},"导出所有结果"]
[{"$nulls":8},"查看","新增"]
[{"$nulls":9},"修改"]
[{"$nulls":9},"删除"]
[{"$nulls":7},"SCL文件校验","导出所有结果"]
[{"$nulls":8},"导出当前节点结果"]
[{"$nulls":8},"行号点击"]
[{"$nulls":7},"CRC校验","校验结果选择"]
[{"$nulls":7},"导出虚端子"]
[{"$nulls":7},"设备、装置、连接线的点击与效果显示"]
[{"$nulls":6},"SCD可视化","检索条件的搜索"]
[{"$nulls":7},"装置的点击","装置关联关系"]
[{"$nulls":8},"输入输出控制块","关联图"]
[{"$nulls":9},"SV发送"]
[{"$nulls":9},"SV接收"]
[{"$nulls":9},"GOOSE发送"]
[{"$nulls":9},"GOOSE接收"]
[{"$nulls":8},"虚端子关系"]
[{"$nulls":8},"基础信息"]
[{"$nulls":8},"定值条目"]
[{"$nulls":8},"信息点表"]
[{"$nulls":8},"源文件"]
[{"$nulls":8},"快速搜索"]
[{"$nulls":7},"设备的统计"]
[{"$nulls":5},"检测结果","左侧的树形结构"]
[{"$nulls":6},"导出所有结果"]
[{"$nulls":6},"导出当前节点结果"]
[{"$nulls":6},"立即生成报告"]
[{"$nulls":6},"报告下载"]
[{"$nulls":6},"行号点击"]
[{"$nulls":6},"检测结果分类统计"]
[{"$nulls":5},"更多","查看到更多的最近检测任务统计"]
[{"$nulls":5},"检测任务详情"]
[null,null,null,"已完成检测","完成检测的任务名称","检测已完成"]
[{"$nulls":4},"检测详情"]
[{"$nulls":4},"检测结果"]
[null,null,null,"无检测任务","点击新建检测任务","维护新建检测任务字段信息"]
[null,null,"新建检测任务"]
[null,null,"历史任务"]
[null,"分支主题 5"]
[null,"报告结果 ","报告已生成","下载报告"]
[null,null,null,"导出当前节点结果"]
[null,null,null,"导出所有结果"]
[null,null,null,"行号点击"]
[null,null,null,"检查结果层级显示"]
[null,null,"报告未生成","立即生成报告"]
[null,null,"报告列表","查看"]
[null,null,null,"报告下载"]
[null," 基础设置  ","内置模型管理","添加间隔"]
[null,null,null,"勾选间隔"]
[null,null,null,"修改间隔"]
[null,null,null,"编辑间隔模型","间隔模型列表"]
[{"$nulls":4},"装置列表","每个装置可进行随意拖动"]
[{"$nulls":4},"关系线路列表","关系线可进行拖动"]
[{"$nulls":4},"保存"]
[{"$nulls":4},"取消"]
[null,null,"接线方式维护","一次接线方式管理树形结构"]
[null,null,null,"添加新分类"]
[null,null,null,"查看线路图"]
[null,null,null,"查看一次接线"]
[null,null,null,"编辑"]
[null,null,null,"删除"]
[null,null,null,"间隔模型"]
[null,"系统管理   ","报告模板","新建报告模板","上传附件"]
[null,null,null,"检索条件查询"]
[null,null,null,"检索条件重置"]
[null,null,null,"勾选相应报告"]
[null,null,null,"编辑"]
[null,null,null,"下载"]
[null,null,null,"删除"]
[null,null,"系统代码管理","添加系统代码"]
[null,null,null,"编辑系统代码"]
[null,null,"系统代码参数","添加系统代码参数"]
[null,null,null,"编辑系统代码参数"]
[null,null,"操作日志","检索条件的查询"]
[null,null,null,"检索条件的重置"]
[null,"登录"]